{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["LCC算出","LCCグラフバックデータ","DB"],"not_rendered":{"charts":1,"images":3,"macros":1,"external_links":0,"defined_names":14,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"LCC算出","index":0,"n_rows":72,"n_cols":31,"rows_kept":72,"cut":false,"hidden":false,"merged":[[56,16,56,17],[56,18,56,19],[49,4,49,5],[66,4,66,5],[51,4,51,5],[70,4,70,5],[39,4,39,5],[44,4,44,5],[47,4,47,5],[58,4,58,5],[63,4,63,5],[65,4,65,5],[56,4,56,5],[68,4,68,5],[4,20,4,21],[4,22,4,23],[10,17,10,20],[4,17,5,17],[4,18,5,18],[4,19,5,19],[27,4,27,5],[46,4,46,5],[3,4,3,5],[30,4,30,5],[5,4,5,5],[7,4,7,5],[28,4,28,5],[32,4,32,5],[37,4,37,5],[9,4,9,5],[11,4,11,5],[13,4,13,5],[20,4,20,5],[25,4,25,5],[18,4,18,5],[4,16,5,16],[9,11,9,12],[11,11,11,12],[48,16,48,17],[48,18,48,19],[40,18,40,19],[40,16,40,17],[10,16,11,16]]}
[null,"■INPUT",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"■OUTPUT",null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"Set_Cycle(E19,E21,E31)","v":111},"：検索値"]
[null,null,"■基本情報の入力",null,null,null,null,null,null,null,null,null,"※凡例",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"Set_Cycle(E38,E40,E50)","v":212},"：検索値"]
[null,null,null,null,null,null,null,null,null,"　　",null,null,"入力","選択",null,null,"( 1 ) 塗替え1回あたり費用内訳（TYPE毎）",null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"Set_Cycle(E57,E59,E69)","v":331},"：検索値"]
[null,null,null,"①橋梁形式","鈑桁橋",null,"（選択）","（鈑桁橋・箱桁橋）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"塗替え方法","塗替え仕様","足場","単価(m2/円)",null,"面積(m2)"]
[null,null,null,"②床版との結合","非合成",null,"（選択）","（非合成・合成）",null,null,null,null,null,null,null,null,null,null,null,null,"塗替え","足場","塗替え","足場"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"TYPE-1",{"$f":"+E19","v":"全面塗替え"},{"$f":"+E21","v":"Rc-Ⅰ"},{"$f":"+E28","v":"Rc-Ⅰ用"},{"$f":"VLOOKUP(S7,tanka_Paint,4,FALSE)","v":11012},{"$f":"VLOOKUP(T7,tanka_Ashiba,2,FALSE)","v":8200},{"$f":"+E26","v":1153.769},{"$f":"+E29","v":383.5}]
[null,null,null,"③径間数","単純",null,"（選択）","（単純・連続）",null,null,"径間数：",1,null,null,null,null,"TYPE-2",{"$f":"+E38","v":"部分塗替え"},{"$f":"+E40","v":"Rc-Ⅰ"},{"$f":"+E47","v":"Rc-Ⅰ用"},{"$f":"VLOOKUP(S8,tanka_Paint,4,FALSE)","v":11012},{"$f":"VLOOKUP(T8,tanka_Ashiba,2,FALSE)","v":8200},{"$f":"+E45","v":115.377},{"$f":"+E48","v":20.8}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"TYPE-3",{"$f":"+E57","v":"点検時塗装"},{"$f":"+E59","v":"点検時塗装①"},{"$f":"+E66","v":"なし"},{"$f":"VLOOKUP(S9,tanka_Paint,4,FALSE)","v":12333},{"$f":"VLOOKUP(T9,tanka_Ashiba,2,FALSE)","v":0},{"$f":"+E64","v":31.151762999999999},{"$f":"+E67","v":0}]
[null,null,null,"④平均支間長",29.5,null,"m",null,null,null,"橋　長：",29.5,null,"m"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"費用(円)"]
[null,null,null,"⑤総幅員",13,null,"m",null,null,null,"橋面積：",{"$f":"+L10*E12","v":383.5},null,"m2",null,null,null,"塗替え","足場","点検","合計"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"TYPE-1",{"$f":"+U7*W7","v":12705304.228},3144700,{"$f":"+IF(R7=\"点検時塗装\",DB!$C$31,0)","v":0},{"$f":"SUM(R13:T13)","v":15850004.228}]
[null,null,null,"⑥外面塗装面積",1153.769059129676,null,"m2",null,null,"※自動計算には，①～⑤の入力が必須",null,null,null,null,null,null,"TYPE-2",1270531.524,170560,{"$f":"+IF(R8=\"点検時塗装\",DB!$C$31,0)","v":0},{"$f":"SUM(R14:T14)","v":1441091.524}]
[null,null,null,null,"※入力または自動計算",null,null,null,null,"※鈑桁/合成/連続、箱桁/合成/単純・連続は適用外",null,null,null,null,null,null,"TYPE-3",384194.69307899999,0,{"$f":"+IF(R9=\"点検時塗装\",DB!$C$31,0)","v":187507},{"$f":"SUM(R15:T15)","v":571701.69307899999}]
[null,null,null,null,null,null,null,null,null,"※鈑桁：全塗装面積*1.00，箱桁：全塗装面積*0.40"]
[null,null,"■塗替えTYPE-1"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"( 2 ) 塗装塗替えライフサイクルコスト"]
[null,null,null,"塗替え方法","全面塗替え",null,"（選択）","（全面塗替え・部分塗替え・点検時塗装）"]
[]
[null,null,null,"塗替え仕様","Rc-Ⅰ",null,"（選択）"]
[null,null,null,null,"全面塗替え　→　Rc-Ⅰ or Rc-Ⅲ"]
[null,null,null,null,"部分塗替え　→　Rc-Ⅰ or Rc-Ⅲ"]
[null,null,null,null,"点検時塗装　→　点検時塗装① or 点検時塗装② or 点検時塗装③"]
[]
[null,null,null,"塗替え面積",1153.769,null,"m2"]
[]
[null,null,null,"足場設置","Rc-Ⅰ用",null,"（選択）","（なし・Rc-Ⅰ用・Rc-Ⅲ用）"]
[null,null,null,null,383.5,null,"m2"]
[]
[null,null,null,"周辺環境","普通環境",null,"（選択）","（普通環境・劣悪環境）"]
[]
[null,null,null,"塗替えサイクル（参考）",{"$f":"VLOOKUP(AD1,CYCLE,2,FALSE)","v":35},null,"年（塗装仕様標準値）"]
[null,null,null,null,"注）上記年数を参考に，SHEET\"LCCグラフバックデータ\"の必要箇所に\"○\"を記入"]
[]
[null,null,"■塗替えTYPE-2"]
[]
[null,null,null,"塗替え方法","部分塗替え",null,"（選択）","（全面塗替え・部分塗替え・点検時塗装）"]
[]
[null,null,null,"塗替え仕様","Rc-Ⅰ",null,"（選択）",null,null,null,null,null,null,null,null,null,"【CASE-1】塗替え費用および回数一覧"]
[null,null,null,null,"全面塗替え　→　Rc-Ⅰ or Rc-Ⅲ",null,null,null,null,null,null,null,null,null,null,null,null,null,"塗替え費用（千円）",null,"塗替え"]
[null,null,null,null,"部分塗替え　→　Rc-Ⅰ or Rc-Ⅲ",null,null,null,null,null,null,null,null,null,null,null,null,"塗替え方法","1回あたり","小　計","回数"]
[null,null,null,null,"点検時塗装　→　点検時塗装① or 点検時塗装② or 点検時塗装③",null,null,null,null,null,null,null,null,null,null,null,"TYPE-1",{"$f":"VLOOKUP(Q43,$Q$7:$R$9,2,FALSE)","v":"全面塗替え"},{"$f":"IFERROR(T43/U43,0)","v":15850.004228},{"$f":"+LCCグラフバックデータ!F105","v":31700.008456},{"$f":"+LCCグラフバックデータ!C105","v":2}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"TYPE-2",{"$f":"VLOOKUP(Q44,$Q$7:$R$9,2,FALSE)","v":"部分塗替え"},{"$f":"IFERROR(T44/U44,0)","v":0},{"$f":"+LCCグラフバックデータ!G105","v":0},{"$f":"+LCCグラフバックデータ!D105","v":0}]
[null,null,null,"塗替え面積",115.377,null,"m2",null,null,null,null,null,null,null,null,null,"TYPE-3","点検時塗装",{"$f":"IFERROR(T45/U45,0)","v":0},{"$f":"+LCCグラフバックデータ!H105","v":0},{"$f":"+LCCグラフバックデータ!E105","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"総　　額",null,null,{"$f":"SUM(T43:T45)","v":31700.008456},"(千円)"]
[null,null,null,"足場設置","Rc-Ⅰ用",null,"（選択）","（なし・Rc-Ⅰ用・Rc-Ⅲ用）"]
[null,null,null,null,{"$f":"13*0.8*2","v":20.8},null,"m2",null,null,null,null,null,null,null,null,null,"【CASE-2】塗替え費用および回数一覧"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"塗替え費用（千円）",null,"塗替え"]
[null,null,null,"周辺環境","劣悪環境",null,"（選択）","（普通環境・劣悪環境）",null,null,null,null,null,null,null,null,null,"塗替え方法","1回あたり","小　計","回数"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"TYPE-1",{"$f":"VLOOKUP(Q51,$Q$7:$R$9,2,FALSE)","v":"全面塗替え"},{"$f":"IFERROR(T51/U51,0)","v":15850.004228},{"$f":"+LCCグラフバックデータ!S105","v":15850.004228},{"$f":"+LCCグラフバックデータ!P105","v":1}]
[null,null,null,"塗替えサイクル（参考）",{"$f":"VLOOKUP(AD2,CYCLE,2,FALSE)","v":20},null,"年（塗装仕様標準値）",null,null,null,null,null,null,null,null,null,"TYPE-2",{"$f":"VLOOKUP(Q52,$Q$7:$R$9,2,FALSE)","v":"部分塗替え"},{"$f":"IFERROR(T52/U52,0)","v":1441.0915239999999},{"$f":"+LCCグラフバックデータ!T105","v":2882.1830479999999},{"$f":"+LCCグラフバックデータ!Q105","v":2}]
[null,null,null,null,"注）上記年数を参考に，SHEET\"LCCグラフバックデータ\"の必要箇所に\"○\"を記入",null,null,null,null,null,null,null,null,null,null,null,"TYPE-3","点検時塗装",{"$f":"IFERROR(T53/U53,0)","v":571.70169307899982},{"$f":"+LCCグラフバックデータ!U105","v":9147.2270892639972},{"$f":"+LCCグラフバックデータ!R105","v":16}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"総　　額",null,null,{"$f":"SUM(T51:T53)","v":27879.414365263998},"(千円)",{"$f":"+T54/T46","v":0.87947655925584267},"：CASE-1比"]
[null,null,"■塗替えTYPE-3"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"【CASE-3】塗替え費用および回数一覧"]
[null,null,null,"塗替え方法","点検時塗装",null,"（選択）","（全面塗替え・部分塗替え・点検時塗装）",null,null,null,null,null,null,null,null,null,null,"塗替え費用（千円）",null,"塗替え"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"塗替え方法","1回あたり","小　計","回数"]
[null,null,null,"塗替え仕様","点検時塗装①",null,"（選択）",null,null,null,null,null,null,null,null,null,"TYPE-1",{"$f":"VLOOKUP(Q59,$Q$7:$R$9,2,FALSE)","v":"全面塗替え"},{"$f":"IFERROR(T59/U59,0)","v":0},{"$f":"+LCCグラフバックデータ!AF105","v":0},{"$f":"+LCCグラフバックデータ!AC105","v":0}]
[null,null,null,null,"全面塗替え　→　Rc-Ⅰ or Rc-Ⅲ",null,null,null,null,null,null,null,null,null,null,null,"TYPE-2",{"$f":"VLOOKUP(Q60,$Q$7:$R$9,2,FALSE)","v":"部分塗替え"},{"$f":"IFERROR(T60/U60,0)","v":1441.0915240000002},{"$f":"+LCCグラフバックデータ!AG105","v":4323.2745720000003},{"$f":"+LCCグラフバックデータ!AD105","v":3}]
[null,null,null,null,"部分塗替え　→　Rc-Ⅰ or Rc-Ⅲ",null,null,null,null,null,null,null,null,null,null,null,"TYPE-3","点検時塗装",{"$f":"IFERROR(T61/U61,0)","v":571.70169307899982},{"$f":"+LCCグラフバックデータ!AH105","v":9147.2270892639972},{"$f":"+LCCグラフバックデータ!AE105","v":16}]
[null,null,null,null,"点検時塗装　→　点検時塗装① or 点検時塗装② or 点検時塗装③",null,null,null,null,null,null,null,null,null,null,null,"総　　額",null,null,{"$f":"SUM(T59:T61)","v":13470.501661263997},"(千円)",{"$f":"+T62/T46","v":0.42493684757091527},"：CASE-1比"]
[]
[null,null,null,"塗替え面積",{"$f":"+E26*0.027","v":31.151762999999999},null,"m2"]
[]
[null,null,null,"足場設置","なし",null,"（選択）","（なし・Rc-Ⅰ用・Rc-Ⅲ用）"]
[null,null,null,null,0,null,"m2"]
[]
[null,null,null,"周辺環境","普通環境",null,"（選択）","（普通環境・劣悪環境）"]
[]
[null,null,null,"塗替えサイクル（参考）",{"$f":"VLOOKUP(AD3,CYCLE,2,FALSE)","v":5},null,"年（塗装仕様標準値）"]
[null,null,null,null,"注）上記年数を参考に，SHEET\"LCCグラフバックデータ\"の必要箇所に\"○\"を記入"]

{"sheet":"LCCグラフバックデータ","index":1,"n_rows":207,"n_cols":39,"rows_kept":207,"cut":false,"hidden":false,"merged":[[0,1,0,12],[0,14,0,25],[0,27,0,38],[2,28,2,30],[2,31,2,35],[2,15,2,17],[2,18,2,22],[2,2,2,4],[2,5,2,9]]}
[null,"LCCグラフ用入力（CASE-1）",null,null,null,null,null,null,null,null,null,null,null,null,"LCCグラフ用入力（CASE-2）",null,null,null,null,null,null,null,null,null,null,null,null,"LCCグラフ用入力（CASE-3）"]
[null,null,"※太枠内に\"○\"を入力",null,null,null,null,null,null,null,null,null,null,null,null,"※太枠内に\"○\"を入力",null,null,null,null,null,null,null,null,null,null,null,null,"※太枠内に\"○\"を入力"]
[null,"CASE-1","塗替え実施",null,null,"塗替え費用(千円)",null,null,null,null,null,"▼グラフ描画用データ",null,null,"CASE-2","塗替え実施",null,null,"塗替え費用(千円)",null,null,null,null,null,"▼グラフ描画用データ",null,null,"CASE-3","塗替え実施",null,null,"塗替え費用(千円)",null,null,null,null,null,"▼グラフ描画用データ"]
[null,"年数","TYPE-1","TYPE-2","TYPE-3","TYPE-1","TYPE-2","TYPE-3","小計","累計",null,"データ数",{"$f":"COUNTA(B5:B104)","v":100},null,"年数","TYPE-1","TYPE-2","TYPE-3","TYPE-1","TYPE-2","TYPE-3","小計","累計",null,"データ数",{"$f":"COUNTA(O5:O104)","v":100},null,"年数","TYPE-1","TYPE-2","TYPE-3","TYPE-1","TYPE-2","TYPE-3","小計","累計",null,"データ数",{"$f":"COUNTA(AB5:AB104)","v":100}]
[null,0,null,null,null,{"$f":"IF(C5=\"○\",VLOOKUP(F$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(D5=\"○\",VLOOKUP(G$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(E5=\"○\",VLOOKUP(H$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"SUM(F5:H5)","v":0},{"$f":"+I5","v":0},null,null,null,null,0,null,null,null,{"$f":"IF(P5=\"○\",VLOOKUP(S$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(Q5=\"○\",VLOOKUP(T$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(R5=\"○\",VLOOKUP(U$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"SUM(S5:U5)","v":0},{"$f":"+V5","v":0},null,null,null,null,0,null,null,null,{"$f":"IF(AC5=\"○\",VLOOKUP(AF$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(AD5=\"○\",VLOOKUP(AG$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(AE5=\"○\",VLOOKUP(AH$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"SUM(AF5:AH5)","v":0},{"$f":"+AI5","v":0}]
[null,{"$f":"+B5+1","v":1},null,null,null,0,0,0,{"$f":"SUM(F6:H6)","v":0},{"$f":"+J5+I6","v":0},null,"X","Y",null,{"$f":"+O5+1","v":1},null,null,null,0,0,0,{"$f":"SUM(S6:U6)","v":0},{"$f":"+W5+V6","v":0},null,"X","Y",null,{"$f":"+AB5+1","v":1},null,null,null,0,0,0,{"$f":"SUM(AF6:AH6)","v":0},{"$f":"+AJ5+AI6","v":0},null,"X","Y"]
[null,{"$f":"+B6+1","v":2},null,null,null,0,0,0,0,0,null,0,{"$f":"IF(L7=\"\",\"\",IF(L7=$M$4,INDEX($J$5:$J$104,L7),INDEX($J$5:$J$104,L8)))","v":0},null,{"$f":"+O6+1","v":2},null,null,null,0,0,0,0,0,null,0,{"$f":"IF(Y7=\"\",\"\",IF(Y7=$Z$4,INDEX($W$5:$W$104,Y7),INDEX($W$5:$W$104,Y8)))","v":0},null,{"$f":"+AB6+1","v":2},null,null,null,0,0,0,0,0,null,0,{"$f":"IF(AL7=\"\",\"\",IF(AL7=$AM$4,INDEX($AJ$5:$AJ$104,AL7),INDEX($AJ$5:$AJ$104,AL8)))","v":0}]
[null,3,null,null,null,0,0,0,0,0,null,1,{"$f":"IF(L8=\"\",\"\",IF(L8=$M$4,INDEX($J$5:$J$104,L8),INDEX($J$5:$J$104,L9)))","v":0},null,3,null,null,null,0,0,0,0,0,null,1,{"$f":"IF(Y8=\"\",\"\",IF(Y8=$Z$4,INDEX($W$5:$W$104,Y8),INDEX($W$5:$W$104,Y9)))","v":0},null,3,null,null,null,0,0,0,0,0,null,1,{"$f":"IF(AL8=\"\",\"\",IF(AL8=$AM$4,INDEX($AJ$5:$AJ$104,AL8),INDEX($AJ$5:$AJ$104,AL9)))","v":0}]
[null,4,null,null,null,0,0,0,0,0,null,{"$f":"IF(L8=\"\",\"\",(IF(L8=$M$4,\"\",IF(L8=L7,L8+1,L8))))","v":1},{"$f":"IF(L9=\"\",\"\",IF(L9=$M$4,INDEX($J$5:$J$104,L9),INDEX($J$5:$J$104,L10)))","v":0},null,4,null,null,null,0,0,0,0,0,null,{"$f":"IF(Y8=\"\",\"\",(IF(Y8=$Z$4,\"\",IF(Y8=Y7,Y8+1,Y8))))","v":1},0,null,4,null,null,null,0,0,0,0,0,null,{"$f":"IF(AL8=\"\",\"\",(IF(AL8=$Z$4,\"\",IF(AL8=AL7,AL8+1,AL8))))","v":1},0]
[null,5,null,null,null,0,0,0,0,0,null,{"$f":"IF(L9=\"\",\"\",(IF(L9=$M$4,\"\",IF(L9=L8,L9+1,L9))))","v":2},{"$f":"IF(L10=\"\",\"\",IF(L10=$M$4,INDEX($J$5:$J$104,L10),INDEX($J$5:$J$104,L11)))","v":0},null,5,null,null,"○",0,0,571.70169307899994,571.70169307899994,571.70169307899994,null,{"$f":"IF(Y9=\"\",\"\",(IF(Y9=$Z$4,\"\",IF(Y9=Y8,Y9+1,Y9))))","v":2},0,null,5,null,null,"○",0,0,571.70169307899994,571.70169307899994,571.70169307899994,null,{"$f":"IF(AL9=\"\",\"\",(IF(AL9=$Z$4,\"\",IF(AL9=AL8,AL9+1,AL9))))","v":2},0]
[null,6,null,null,null,0,0,0,0,0,null,2,0,null,6,null,null,null,0,0,0,0,571.70169307899994,null,2,0,null,6,null,null,null,0,0,0,0,571.70169307899994,null,2,0]
[null,7,null,null,null,0,0,0,0,0,null,3,0,null,7,null,null,null,0,0,0,0,571.70169307899994,null,3,0,null,7,null,null,null,0,0,0,0,571.70169307899994,null,3,0]
[null,8,null,null,null,0,0,0,0,0,null,3,0,null,8,null,null,null,0,0,0,0,571.70169307899994,null,3,0,null,8,null,null,null,0,0,0,0,571.70169307899994,null,3,0]
[null,9,null,null,null,0,0,0,0,0,null,4,0,null,9,null,null,null,0,0,0,0,571.70169307899994,null,4,0,null,9,null,null,null,0,0,0,0,571.70169307899994,null,4,0]
[null,10,null,null,null,0,0,0,0,0,null,4,0,null,10,null,null,"○",0,0,571.70169307899994,571.70169307899994,1143.4033861579999,null,4,0,null,10,null,null,"○",0,0,571.70169307899994,571.70169307899994,1143.4033861579999,null,4,0]
[null,11,null,null,null,0,0,0,0,0,null,5,0,null,11,null,null,null,0,0,0,0,1143.4033861579999,null,5,0,null,11,null,null,null,0,0,0,0,1143.4033861579999,null,5,0]
[null,12,null,null,null,0,0,0,0,0,null,5,0,null,12,null,null,null,0,0,0,0,1143.4033861579999,null,5,571.70169307899994,null,12,null,null,null,0,0,0,0,1143.4033861579999,null,5,571.70169307899994]
[null,13,null,null,null,0,0,0,0,0,null,6,0,null,13,null,null,null,0,0,0,0,1143.4033861579999,null,6,571.70169307899994,null,13,null,null,null,0,0,0,0,1143.4033861579999,null,6,571.70169307899994]
[null,14,null,null,null,0,0,0,0,0,null,6,0,null,14,null,null,null,0,0,0,0,1143.4033861579999,null,6,571.70169307899994,null,14,null,null,null,0,0,0,0,1143.4033861579999,null,6,571.70169307899994]
[null,15,null,null,null,0,0,0,0,0,null,7,0,null,15,null,null,"○",0,0,571.70169307899994,571.70169307899994,1715.1050792369997,null,7,571.70169307899994,null,15,null,null,"○",0,0,571.70169307899994,571.70169307899994,1715.1050792369997,null,7,571.70169307899994]
[null,16,null,null,null,0,0,0,0,0,null,7,0,null,16,null,null,null,0,0,0,0,1715.1050792369997,null,7,571.70169307899994,null,16,null,null,null,0,0,0,0,1715.1050792369997,null,7,571.70169307899994]
[null,17,null,null,null,0,0,0,0,0,null,8,0,null,17,null,null,null,0,0,0,0,1715.1050792369997,null,8,571.70169307899994,null,17,null,null,null,0,0,0,0,1715.1050792369997,null,8,571.70169307899994]
[null,18,null,null,null,0,0,0,0,0,null,8,0,null,18,null,null,null,0,0,0,0,1715.1050792369997,null,8,571.70169307899994,null,18,null,null,null,0,0,0,0,1715.1050792369997,null,8,571.70169307899994]
[null,19,null,null,null,0,0,0,0,0,null,9,0,null,19,null,null,null,0,0,0,0,1715.1050792369997,null,9,571.70169307899994,null,19,null,null,null,0,0,0,0,1715.1050792369997,null,9,571.70169307899994]
[null,20,null,null,null,0,0,0,0,0,null,9,0,null,20,null,null,"○",0,0,571.70169307899994,571.70169307899994,2286.8067723159998,null,9,571.70169307899994,null,20,null,null,"○",0,0,571.70169307899994,571.70169307899994,2286.8067723159998,null,9,571.70169307899994]
[null,21,null,null,null,0,0,0,0,0,null,10,0,null,21,null,null,null,0,0,0,0,2286.8067723159998,null,10,571.70169307899994,null,21,null,null,null,0,0,0,0,2286.8067723159998,null,10,571.70169307899994]
[null,22,null,null,null,0,0,0,0,0,null,10,0,null,22,null,null,null,0,0,0,0,2286.8067723159998,null,10,1143.4033861579999,null,22,null,null,null,0,0,0,0,2286.8067723159998,null,10,1143.4033861579999]
[null,23,null,null,null,0,0,0,0,0,null,11,0,null,23,null,null,null,0,0,0,0,2286.8067723159998,null,11,1143.4033861579999,null,23,null,null,null,0,0,0,0,2286.8067723159998,null,11,1143.4033861579999]
[null,24,null,null,null,0,0,0,0,0,null,11,0,null,24,null,null,null,0,0,0,0,2286.8067723159998,null,11,1143.4033861579999,null,24,null,null,null,0,0,0,0,2286.8067723159998,null,11,1143.4033861579999]
[null,25,null,null,null,0,0,0,0,0,null,12,0,null,25,null,null,"○",0,0,571.70169307899994,571.70169307899994,2858.5084653949998,null,12,1143.4033861579999,null,25,null,null,"○",0,0,571.70169307899994,571.70169307899994,2858.5084653949998,null,12,1143.4033861579999]
[null,26,null,null,null,0,0,0,0,0,null,12,0,null,26,null,null,null,0,0,0,0,2858.5084653949998,null,12,1143.4033861579999,null,26,null,null,null,0,0,0,0,2858.5084653949998,null,12,1143.4033861579999]
[null,27,null,null,null,0,0,0,0,0,null,13,0,null,27,null,null,null,0,0,0,0,2858.5084653949998,null,13,1143.4033861579999,null,27,null,null,null,0,0,0,0,2858.5084653949998,null,13,1143.4033861579999]
[null,28,null,null,null,0,0,0,0,0,null,13,0,null,28,null,null,null,0,0,0,0,2858.5084653949998,null,13,1143.4033861579999,null,28,null,null,null,0,0,0,0,2858.5084653949998,null,13,1143.4033861579999]
[null,29,null,null,null,0,0,0,0,0,null,14,0,null,29,null,null,null,0,0,0,0,2858.5084653949998,null,14,1143.4033861579999,null,29,null,null,null,0,0,0,0,2858.5084653949998,null,14,1143.4033861579999]
[null,30,null,null,null,0,0,0,0,0,null,14,0,null,30,null,"○",null,0,1441.0915239999999,0,1441.0915239999999,4299.5999893949993,null,14,1143.4033861579999,null,30,null,"○",null,0,1441.0915239999999,0,1441.0915239999999,4299.5999893949993,null,14,1143.4033861579999]
[null,31,null,null,null,0,0,0,0,0,null,15,0,null,31,null,null,null,0,0,0,0,4299.5999893949993,null,15,1143.4033861579999,null,31,null,null,null,0,0,0,0,4299.5999893949993,null,15,1143.4033861579999]
[null,32,null,null,null,{"$f":"IF(C37=\"○\",VLOOKUP(F$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(D37=\"○\",VLOOKUP(G$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(E37=\"○\",VLOOKUP(H$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},0,0,null,15,0,null,32,null,null,null,{"$f":"IF(P37=\"○\",VLOOKUP(S$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(Q37=\"○\",VLOOKUP(T$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(R37=\"○\",VLOOKUP(U$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},0,4299.5999893949993,null,15,1715.1050792369997,null,32,null,null,null,{"$f":"IF(AC37=\"○\",VLOOKUP(AF$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(AD37=\"○\",VLOOKUP(AG$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(AE37=\"○\",VLOOKUP(AH$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},0,4299.5999893949993,null,15,1715.1050792369997]
[null,33,null,null,null,0,0,0,0,{"$f":"+J37+I38","v":0},null,16,0,null,33,null,null,null,0,0,0,0,4299.5999893949993,null,16,1715.1050792369997,null,33,null,null,null,0,0,0,0,4299.5999893949993,null,16,1715.1050792369997]
[null,34,null,null,null,0,0,0,0,0,null,16,0,null,34,null,null,null,0,0,0,0,4299.5999893949993,null,16,1715.1050792369997,null,34,null,null,null,0,0,0,0,4299.5999893949993,null,16,1715.1050792369997]
[null,35,null,null,null,0,0,0,0,0,null,17,0,null,35,null,null,"○",0,0,571.70169307899994,571.70169307899994,4871.3016824739989,null,17,1715.1050792369997,null,35,null,null,"○",0,0,571.70169307899994,571.70169307899994,4871.3016824739989,null,17,1715.1050792369997]
[null,36,null,null,null,0,0,0,0,0,null,17,0,null,36,null,null,null,0,0,0,0,4871.3016824739989,null,17,1715.1050792369997,null,36,null,null,null,0,0,0,0,4871.3016824739989,null,17,1715.1050792369997]
[null,37,null,null,null,0,0,0,0,0,null,18,0,null,37,null,null,null,0,0,0,0,4871.3016824739989,null,18,1715.1050792369997,null,37,null,null,null,0,0,0,0,4871.3016824739989,null,18,1715.1050792369997]
[null,38,null,null,null,0,0,0,0,0,null,18,0,null,38,null,null,null,0,0,0,0,4871.3016824739989,null,18,1715.1050792369997,null,38,null,null,null,0,0,0,0,4871.3016824739989,null,18,1715.1050792369997]
[null,39,null,null,null,0,0,0,0,0,null,19,0,null,39,null,null,null,0,0,0,0,4871.3016824739989,null,19,1715.1050792369997,null,39,null,null,null,0,0,0,0,4871.3016824739989,null,19,1715.1050792369997]
[null,40,null,null,null,0,0,0,0,0,null,19,0,null,40,null,null,"○",0,0,571.70169307899994,571.70169307899994,5443.0033755529985,null,19,1715.1050792369997,null,40,null,null,"○",0,0,571.70169307899994,571.70169307899994,5443.0033755529985,null,19,1715.1050792369997]
[null,41,null,null,null,0,0,0,0,0,null,20,0,null,41,null,null,null,0,0,0,0,5443.0033755529985,null,20,1715.1050792369997,null,41,null,null,null,0,0,0,0,5443.0033755529985,null,20,1715.1050792369997]
[null,42,null,null,null,0,0,0,0,0,null,20,0,null,42,null,null,null,0,0,0,0,5443.0033755529985,null,20,2286.8067723159998,null,42,null,null,null,0,0,0,0,5443.0033755529985,null,20,2286.8067723159998]
[null,43,null,null,null,0,0,0,0,0,null,21,0,null,43,null,null,null,0,0,0,0,5443.0033755529985,null,21,2286.8067723159998,null,43,null,null,null,0,0,0,0,5443.0033755529985,null,21,2286.8067723159998]
[null,44,null,null,null,0,0,0,0,0,null,21,0,null,44,null,null,null,0,0,0,0,5443.0033755529985,null,21,2286.8067723159998,null,44,null,null,null,0,0,0,0,5443.0033755529985,null,21,2286.8067723159998]
[null,45,"○",null,null,15850.004228,0,0,15850.004228,15850.004228,null,22,0,null,45,null,null,"○",0,0,571.70169307899994,571.70169307899994,6014.7050686319981,null,22,2286.8067723159998,null,45,null,null,"○",0,0,571.70169307899994,571.70169307899994,6014.7050686319981,null,22,2286.8067723159998]
[null,46,null,null,null,0,0,0,0,15850.004228,null,22,0,null,46,null,null,null,0,0,0,0,6014.7050686319981,null,22,2286.8067723159998,null,46,null,null,null,0,0,0,0,6014.7050686319981,null,22,2286.8067723159998]
[null,47,null,null,null,0,0,0,0,15850.004228,null,23,0,null,47,null,null,null,0,0,0,0,6014.7050686319981,null,23,2286.8067723159998,null,47,null,null,null,0,0,0,0,6014.7050686319981,null,23,2286.8067723159998]
[null,48,null,null,null,0,0,0,0,15850.004228,null,23,0,null,48,null,null,null,0,0,0,0,6014.7050686319981,null,23,2286.8067723159998,null,48,null,null,null,0,0,0,0,6014.7050686319981,null,23,2286.8067723159998]
[null,49,null,null,null,0,0,0,0,15850.004228,null,24,0,null,49,null,null,null,0,0,0,0,6014.7050686319981,null,24,2286.8067723159998,null,49,null,null,null,0,0,0,0,6014.7050686319981,null,24,2286.8067723159998]
[null,50,null,null,null,0,0,0,0,15850.004228,null,24,0,null,50,null,null,"○",0,0,571.70169307899994,571.70169307899994,6586.4067617109977,null,24,2286.8067723159998,null,50,null,null,"○",0,0,571.70169307899994,571.70169307899994,6586.4067617109977,null,24,2286.8067723159998]
[null,51,null,null,null,0,0,0,0,15850.004228,null,25,0,null,51,null,null,null,0,0,0,0,6586.4067617109977,null,25,2286.8067723159998,null,51,null,null,null,0,0,0,0,6586.4067617109977,null,25,2286.8067723159998]
[null,52,null,null,null,0,0,0,0,15850.004228,null,25,0,null,52,null,null,null,0,0,0,0,6586.4067617109977,null,25,2858.5084653949998,null,52,null,null,null,0,0,0,0,6586.4067617109977,null,25,2858.5084653949998]
[null,53,null,null,null,0,0,0,0,15850.004228,null,26,0,null,53,null,null,null,0,0,0,0,6586.4067617109977,null,26,2858.5084653949998,null,53,null,null,null,0,0,0,0,6586.4067617109977,null,26,2858.5084653949998]
[null,54,null,null,null,0,0,0,0,15850.004228,null,26,0,null,54,null,null,null,0,0,0,0,6586.4067617109977,null,26,2858.5084653949998,null,54,null,null,null,0,0,0,0,6586.4067617109977,null,26,2858.5084653949998]
[null,55,null,null,null,0,0,0,0,15850.004228,null,27,0,null,55,null,null,"○",0,0,571.70169307899994,571.70169307899994,7158.1084547899973,null,27,2858.5084653949998,null,55,null,null,"○",0,0,571.70169307899994,571.70169307899994,7158.1084547899973,null,27,2858.5084653949998]
[null,56,null,null,null,0,0,0,0,15850.004228,null,27,0,null,56,null,null,null,0,0,0,0,7158.1084547899973,null,27,2858.5084653949998,null,56,null,null,null,0,0,0,0,7158.1084547899973,null,27,2858.5084653949998]
[null,57,null,null,null,0,0,0,0,15850.004228,null,28,0,null,57,null,null,null,0,0,0,0,7158.1084547899973,null,28,2858.5084653949998,null,57,null,null,null,0,0,0,0,7158.1084547899973,null,28,2858.5084653949998]
[null,58,null,null,null,0,0,0,0,15850.004228,null,28,0,null,58,null,null,null,0,0,0,0,7158.1084547899973,null,28,2858.5084653949998,null,58,null,null,null,0,0,0,0,7158.1084547899973,null,28,2858.5084653949998]
[null,59,null,null,null,0,0,0,0,15850.004228,null,29,0,null,59,null,null,null,0,0,0,0,7158.1084547899973,null,29,2858.5084653949998,null,59,null,null,null,0,0,0,0,7158.1084547899973,null,29,2858.5084653949998]
[null,60,null,null,null,0,0,0,0,15850.004228,null,29,0,null,60,"○",null,null,15850.004228,0,0,15850.004228,23008.112682789997,null,29,2858.5084653949998,null,60,null,"○",null,0,1441.0915239999999,0,1441.0915239999999,8599.1999787899967,null,29,2858.5084653949998]
[null,61,null,null,null,0,0,0,0,15850.004228,null,30,0,null,61,null,null,null,0,0,0,0,23008.112682789997,null,30,2858.5084653949998,null,61,null,null,null,0,0,0,0,8599.1999787899967,null,30,2858.5084653949998]
[null,62,null,null,null,0,0,0,0,15850.004228,null,30,0,null,62,null,null,null,0,0,0,0,23008.112682789997,null,30,4299.5999893949993,null,62,null,null,null,0,0,0,0,8599.1999787899967,null,30,4299.5999893949993]
[null,63,null,null,null,0,0,0,0,15850.004228,null,31,0,null,63,null,null,null,0,0,0,0,23008.112682789997,null,31,4299.5999893949993,null,63,null,null,null,0,0,0,0,8599.1999787899967,null,31,4299.5999893949993]
[null,64,null,null,null,{"$f":"IF(C69=\"○\",VLOOKUP(F$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(D69=\"○\",VLOOKUP(G$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(E69=\"○\",VLOOKUP(H$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},0,15850.004228,null,31,0,null,64,null,null,null,{"$f":"IF(P69=\"○\",VLOOKUP(S$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(Q69=\"○\",VLOOKUP(T$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(R69=\"○\",VLOOKUP(U$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},0,23008.112682789997,null,31,4299.5999893949993,null,64,null,null,null,{"$f":"IF(AC69=\"○\",VLOOKUP(AF$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(AD69=\"○\",VLOOKUP(AG$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},{"$f":"IF(AE69=\"○\",VLOOKUP(AH$4,_xlnm.Database,5,FALSE)/1000,0)","v":0},0,8599.1999787899967,null,31,4299.5999893949993]
[null,65,null,null,null,0,0,0,{"$f":"SUM(F70:H70)","v":0},{"$f":"+J69+I70","v":15850.004228},null,32,0,null,65,null,null,"○",0,0,571.70169307899994,{"$f":"SUM(S70:U70)","v":571.70169307899994},{"$f":"+W69+V70","v":23579.814375868998},null,32,4299.5999893949993,null,65,null,null,"○",0,0,571.70169307899994,{"$f":"SUM(AF70:AH70)","v":571.70169307899994},{"$f":"+AJ69+AI70","v":9170.9016718689963},null,32,4299.5999893949993]
[null,{"$f":"+B70+1","v":66},null,null,null,0,0,0,0,15850.004228,null,32,0,null,{"$f":"+O70+1","v":66},null,null,null,0,0,0,0,23579.814375868998,null,32,4299.5999893949993,null,{"$f":"+AB70+1","v":66},null,null,null,0,0,0,0,9170.9016718689963,null,32,4299.5999893949993]
[null,67,null,null,null,0,0,0,0,15850.004228,null,33,0,null,67,null,null,null,0,0,0,0,23579.814375868998,null,33,{"$f":"IF(Y72=\"\",\"\",IF(Y72=$Z$4,INDEX($W$5:$W$104,Y72),INDEX($W$5:$W$104,Y73)))","v":4299.5999893949993},null,67,null,null,null,0,0,0,0,9170.9016718689963,null,33,{"$f":"IF(AL72=\"\",\"\",IF(AL72=$AM$4,INDEX($AJ$5:$AJ$104,AL72),INDEX($AJ$5:$AJ$104,AL73)))","v":4299.5999893949993}]
[null,68,null,null,null,0,0,0,0,15850.004228,null,33,0,null,68,null,null,null,0,0,0,0,23579.814375868998,null,33,4299.5999893949993,null,68,null,null,null,0,0,0,0,9170.9016718689963,null,33,4299.5999893949993]
[null,69,null,null,null,0,0,0,0,15850.004228,null,{"$f":"IF(L73=\"\",\"\",(IF(L73=$M$4,\"\",IF(L73=L72,L73+1,L73))))","v":34},{"$f":"IF(L74=\"\",\"\",IF(L74=$M$4,INDEX($J$5:$J$104,L74),INDEX($J$5:$J$104,L75)))","v":0},null,69,null,null,null,0,0,0,0,23579.814375868998,null,{"$f":"IF(Y73=\"\",\"\",(IF(Y73=$Z$4,\"\",IF(Y73=Y72,Y73+1,Y73))))","v":34},4299.5999893949993,null,69,null,null,null,0,0,0,0,9170.9016718689963,null,{"$f":"IF(AL73=\"\",\"\",(IF(AL73=$Z$4,\"\",IF(AL73=AL72,AL73+1,AL73))))","v":34},4299.5999893949993]
[null,70,null,null,null,0,0,0,0,15850.004228,null,34,0,null,70,null,null,"○",0,0,571.70169307899994,571.70169307899994,24151.516068948,null,34,4299.5999893949993,null,70,null,null,"○",0,0,571.70169307899994,571.70169307899994,9742.6033649479959,null,34,4299.5999893949993]
[null,71,null,null,null,0,0,0,0,15850.004228,null,35,0,null,71,null,null,null,0,0,0,0,24151.516068948,null,35,4299.5999893949993,null,71,null,null,null,0,0,0,0,9742.6033649479959,null,35,4299.5999893949993]
[null,72,null,null,null,0,0,0,0,15850.004228,null,35,0,null,72,null,null,null,0,0,0,0,24151.516068948,null,35,4871.3016824739989,null,72,null,null,null,0,0,0,0,9742.6033649479959,null,35,4871.3016824739989]
[null,73,null,null,null,0,0,0,0,15850.004228,null,36,0,null,73,null,null,null,0,0,0,0,24151.516068948,null,36,4871.3016824739989,null,73,null,null,null,0,0,0,0,9742.6033649479959,null,36,4871.3016824739989]
[null,74,null,null,null,0,0,0,0,15850.004228,null,36,0,null,74,null,null,null,0,0,0,0,24151.516068948,null,36,4871.3016824739989,null,74,null,null,null,0,0,0,0,9742.6033649479959,null,36,4871.3016824739989]
[null,75,null,null,null,0,0,0,0,15850.004228,null,37,0,null,75,null,null,"○",0,0,571.70169307899994,571.70169307899994,24723.217762027001,null,37,4871.3016824739989,null,75,null,null,"○",0,0,571.70169307899994,571.70169307899994,10314.305058026996,null,37,4871.3016824739989]
[null,76,null,null,null,0,0,0,0,15850.004228,null,37,0,null,76,null,null,null,0,0,0,0,24723.217762027001,null,37,4871.3016824739989,null,76,null,null,null,0,0,0,0,10314.305058026996,null,37,4871.3016824739989]
[null,77,null,null,null,0,0,0,0,15850.004228,null,38,0,null,77,null,null,null,0,0,0,0,24723.217762027001,null,38,4871.3016824739989,null,77,null,null,null,0,0,0,0,10314.305058026996,null,38,4871.3016824739989]
[null,78,null,null,null,0,0,0,0,15850.004228,null,38,0,null,78,null,null,null,0,0,0,0,24723.217762027001,null,38,4871.3016824739989,null,78,null,null,null,0,0,0,0,10314.305058026996,null,38,4871.3016824739989]
[null,79,null,null,null,0,0,0,0,15850.004228,null,39,0,null,79,null,null,null,0,0,0,0,24723.217762027001,null,39,4871.3016824739989,null,79,null,null,null,0,0,0,0,10314.305058026996,null,39,4871.3016824739989]
[null,80,null,null,null,0,0,0,0,15850.004228,null,39,0,null,80,null,null,"○",0,0,571.70169307899994,571.70169307899994,25294.919455106003,null,39,4871.3016824739989,null,80,null,null,"○",0,0,571.70169307899994,571.70169307899994,10886.006751105995,null,39,4871.3016824739989]
[null,81,null,null,null,0,0,0,0,15850.004228,null,40,0,null,81,null,null,null,0,0,0,0,25294.919455106003,null,40,4871.3016824739989,null,81,null,null,null,0,0,0,0,10886.006751105995,null,40,4871.3016824739989]
[null,82,null,null,null,0,0,0,0,15850.004228,null,40,0,null,82,null,null,null,0,0,0,0,25294.919455106003,null,40,5443.0033755529985,null,82,null,null,null,0,0,0,0,10886.006751105995,null,40,5443.0033755529985]
[null,83,null,null,null,0,0,0,0,15850.004228,null,41,0,null,83,null,null,null,0,0,0,0,25294.919455106003,null,41,5443.0033755529985,null,83,null,null,null,0,0,0,0,10886.006751105995,null,41,5443.0033755529985]
[null,84,null,null,null,0,0,0,0,15850.004228,null,41,0,null,84,null,null,null,0,0,0,0,25294.919455106003,null,41,5443.0033755529985,null,84,null,null,null,0,0,0,0,10886.006751105995,null,41,5443.0033755529985]
[null,85,null,null,null,0,0,0,0,15850.004228,null,42,0,null,85,null,null,"○",0,0,571.70169307899994,571.70169307899994,25866.621148185004,null,42,5443.0033755529985,null,85,null,null,"○",0,0,571.70169307899994,571.70169307899994,11457.708444184995,null,42,5443.0033755529985]
[null,86,null,null,null,0,0,0,0,15850.004228,null,42,0,null,86,null,null,null,0,0,0,0,25866.621148185004,null,42,5443.0033755529985,null,86,null,null,null,0,0,0,0,11457.708444184995,null,42,5443.0033755529985]
[null,87,null,null,null,0,0,0,0,15850.004228,null,43,0,null,87,null,null,null,0,0,0,0,25866.621148185004,null,43,5443.0033755529985,null,87,null,null,null,0,0,0,0,11457.708444184995,null,43,5443.0033755529985]
[null,88,null,null,null,0,0,0,0,15850.004228,null,43,0,null,88,null,null,null,0,0,0,0,25866.621148185004,null,43,5443.0033755529985,null,88,null,null,null,0,0,0,0,11457.708444184995,null,43,5443.0033755529985]
[null,89,null,null,null,0,0,0,0,15850.004228,null,44,0,null,89,null,null,null,0,0,0,0,25866.621148185004,null,44,5443.0033755529985,null,89,null,null,null,0,0,0,0,11457.708444184995,null,44,5443.0033755529985]
[null,90,"○",null,null,15850.004228,0,0,15850.004228,31700.008456,null,44,0,null,90,null,"○",null,0,1441.0915239999999,0,1441.0915239999999,27307.712672185004,null,44,5443.0033755529985,null,90,null,"○",null,0,1441.0915239999999,0,1441.0915239999999,12898.799968184994,null,44,5443.0033755529985]
[null,91,null,null,null,0,0,0,0,31700.008456,null,45,0,null,91,null,null,null,0,0,0,0,27307.712672185004,null,45,5443.0033755529985,null,91,null,null,null,0,0,0,0,12898.799968184994,null,45,5443.0033755529985]
[null,92,null,null,null,0,0,0,0,31700.008456,null,45,15850.004228,null,92,null,null,null,0,0,0,0,27307.712672185004,null,45,6014.7050686319981,null,92,null,null,null,0,0,0,0,12898.799968184994,null,45,6014.7050686319981]
[null,93,null,null,null,0,0,0,0,31700.008456,null,46,15850.004228,null,93,null,null,null,0,0,0,0,27307.712672185004,null,46,6014.7050686319981,null,93,null,null,null,0,0,0,0,12898.799968184994,null,46,6014.7050686319981]
[null,94,null,null,null,0,0,0,0,31700.008456,null,46,15850.004228,null,94,null,null,null,0,0,0,0,27307.712672185004,null,46,6014.7050686319981,null,94,null,null,null,0,0,0,0,12898.799968184994,null,46,6014.7050686319981]
[null,95,null,null,null,0,0,0,0,31700.008456,null,47,15850.004228,null,95,null,null,"○",0,0,571.70169307899994,571.70169307899994,27879.414365264005,null,47,6014.7050686319981,null,95,null,null,"○",0,0,571.70169307899994,571.70169307899994,13470.501661263994,null,47,6014.7050686319981]
[null,96,null,null,null,0,0,0,0,31700.008456,null,47,15850.004228,null,96,null,null,null,0,0,0,0,27879.414365264005,null,47,6014.7050686319981,null,96,null,null,null,0,0,0,0,13470.501661263994,null,47,6014.7050686319981]
[null,97,null,null,null,0,0,0,0,{"$f":"+J101+I102","v":31700.008456},null,48,15850.004228,null,97,null,null,null,0,0,0,0,27879.414365264005,null,48,6014.7050686319981,null,97,null,null,null,0,0,0,0,13470.501661263994,null,48,6014.7050686319981]
[null,98,null,null,null,0,0,0,0,31700.008456,null,48,15850.004228,null,98,null,null,null,0,0,0,0,27879.414365264005,null,48,6014.7050686319981,null,98,null,null,null,0,0,0,0,13470.501661263994,null,48,6014.7050686319981]
[null,99,null,null,null,0,0,0,0,31700.008456,null,49,15850.004228,null,99,null,null,null,0,0,0,0,27879.414365264005,null,49,6014.7050686319981,null,99,null,null,null,0,0,0,0,13470.501661263994,null,49,6014.7050686319981]
[null,"合　　計",{"$f":"COUNTIF(C5:C104,\"○\")","v":2},{"$f":"COUNTIF(D5:D104,\"○\")","v":0},{"$f":"COUNTIF(E5:E104,\"○\")","v":0},{"$f":"SUM(F5:F104)","v":31700.008456},{"$f":"SUM(G5:G104)","v":0},0,31700.008456,null,null,49,15850.004228,null,"合　　計",{"$f":"COUNTIF(P5:P104,\"○\")","v":1},{"$f":"COUNTIF(Q5:Q104,\"○\")","v":2},{"$f":"COUNTIF(R5:R104,\"○\")","v":16},{"$f":"SUM(S5:S104)","v":15850.004228},{"$f":"SUM(T5:T104)","v":2882.1830479999999},9147.2270892639972,27879.414365263998,null,null,49,6014.7050686319981,null,"合　　計",{"$f":"COUNTIF(AC5:AC104,\"○\")","v":0},{"$f":"COUNTIF(AD5:AD104,\"○\")","v":3},{"$f":"COUNTIF(AE5:AE104,\"○\")","v":16},{"$f":"SUM(AF5:AF104)","v":0},{"$f":"SUM(AG5:AG104)","v":4323.2745720000003},9147.2270892639972,13470.501661263997,null,null,49,6014.7050686319981]
[null,"*","*","*","*","*","*","*","*","*",null,50,15850.004228,null,"*","*","*","*","*","*","*","*","*",null,50,6014.7050686319981,null,"*","*","*","*","*","*","*","*","*",null,50,6014.7050686319981]
[null,null,null,null,null,null,null,null,null,null,null,50,15850.004228,null,null,null,null,null,null,null,null,null,null,null,50,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,50,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,51,15850.004228,null,null,null,null,null,null,null,null,null,null,null,51,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,51,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,51,15850.004228,null,null,null,null,null,null,null,null,null,null,null,51,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,51,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,52,15850.004228,null,null,null,null,null,null,null,null,null,null,null,52,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,52,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,52,15850.004228,null,null,null,null,null,null,null,null,null,null,null,52,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,52,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,53,15850.004228,null,null,null,null,null,null,null,null,null,null,null,53,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,53,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,53,15850.004228,null,null,null,null,null,null,null,null,null,null,null,53,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,53,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,54,15850.004228,null,null,null,null,null,null,null,null,null,null,null,54,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,54,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(L114=\"\",\"\",(IF(L114=$M$4,\"\",IF(L114=L113,L114+1,L114))))","v":54},15850.004228,null,null,null,null,null,null,null,null,null,null,null,54,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,54,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,55,15850.004228,null,null,null,null,null,null,null,null,null,null,null,55,6586.4067617109977,null,null,null,null,null,null,null,null,null,null,null,55,6586.4067617109977]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(L116=\"\",\"\",(IF(L116=$M$4,\"\",IF(L116=L115,L116+1,L116))))","v":55},15850.004228,null,null,null,null,null,null,null,null,null,null,null,55,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,55,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,56,15850.004228,null,null,null,null,null,null,null,null,null,null,null,56,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,56,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(L118=\"\",\"\",(IF(L118=$M$4,\"\",IF(L118=L117,L118+1,L118))))","v":56},15850.004228,null,null,null,null,null,null,null,null,null,null,null,56,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,56,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,57,15850.004228,null,null,null,null,null,null,null,null,null,null,null,57,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,57,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,57,15850.004228,null,null,null,null,null,null,null,null,null,null,null,57,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,57,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,58,15850.004228,null,null,null,null,null,null,null,null,null,null,null,58,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,58,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,58,15850.004228,null,null,null,null,null,null,null,null,null,null,null,58,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,58,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,59,15850.004228,null,null,null,null,null,null,null,null,null,null,null,59,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,59,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,59,15850.004228,null,null,null,null,null,null,null,null,null,null,null,59,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,59,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,60,15850.004228,null,null,null,null,null,null,null,null,null,null,null,60,7158.1084547899973,null,null,null,null,null,null,null,null,null,null,null,60,7158.1084547899973]
[null,null,null,null,null,null,null,null,null,null,null,60,15850.004228,null,null,null,null,null,null,null,null,null,null,null,60,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,60,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,61,15850.004228,null,null,null,null,null,null,null,null,null,null,null,61,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,61,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,61,15850.004228,null,null,null,null,null,null,null,null,null,null,null,61,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,61,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,62,15850.004228,null,null,null,null,null,null,null,null,null,null,null,62,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,62,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,62,15850.004228,null,null,null,null,null,null,null,null,null,null,null,62,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,62,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,63,15850.004228,null,null,null,null,null,null,null,null,null,null,null,63,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,63,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,63,15850.004228,null,null,null,null,null,null,null,null,null,null,null,63,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,63,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,64,15850.004228,null,null,null,null,null,null,null,null,null,null,null,64,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,64,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,64,15850.004228,null,null,null,null,null,null,null,null,null,null,null,64,23008.112682789997,null,null,null,null,null,null,null,null,null,null,null,64,8599.1999787899967]
[null,null,null,null,null,null,null,null,null,null,null,65,15850.004228,null,null,null,null,null,null,null,null,null,null,null,65,{"$f":"IF(Y136=\"\",\"\",IF(Y136=$Z$4,INDEX($W$5:$W$104,Y136),INDEX($W$5:$W$104,Y137)))","v":23008.112682789997},null,null,null,null,null,null,null,null,null,null,null,65,{"$f":"IF(AL136=\"\",\"\",IF(AL136=$AM$4,INDEX($AJ$5:$AJ$104,AL136),INDEX($AJ$5:$AJ$104,AL137)))","v":8599.1999787899967}]
[null,null,null,null,null,null,null,null,null,null,null,65,15850.004228,null,null,null,null,null,null,null,null,null,null,null,65,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,65,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,66,{"$f":"IF(L138=\"\",\"\",IF(L138=$M$4,INDEX($J$5:$J$104,L138),INDEX($J$5:$J$104,L139)))","v":15850.004228},null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Y137=\"\",\"\",(IF(Y137=$Z$4,\"\",IF(Y137=Y136,Y137+1,Y137))))","v":66},23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(AL137=\"\",\"\",(IF(AL137=$Z$4,\"\",IF(AL137=AL136,AL137+1,AL137))))","v":66},9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,66,15850.004228,null,null,null,null,null,null,null,null,null,null,null,66,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,66,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,67,15850.004228,null,null,null,null,null,null,null,null,null,null,null,67,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,67,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,67,15850.004228,null,null,null,null,null,null,null,null,null,null,null,67,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,67,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,68,15850.004228,null,null,null,null,null,null,null,null,null,null,null,68,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,68,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,68,15850.004228,null,null,null,null,null,null,null,null,null,null,null,68,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,68,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,69,15850.004228,null,null,null,null,null,null,null,null,null,null,null,69,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,69,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,69,15850.004228,null,null,null,null,null,null,null,null,null,null,null,69,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,69,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,70,15850.004228,null,null,null,null,null,null,null,null,null,null,null,70,23579.814375868998,null,null,null,null,null,null,null,null,null,null,null,70,9170.9016718689963]
[null,null,null,null,null,null,null,null,null,null,null,70,15850.004228,null,null,null,null,null,null,null,null,null,null,null,70,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,70,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,71,15850.004228,null,null,null,null,null,null,null,null,null,null,null,71,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,71,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,71,15850.004228,null,null,null,null,null,null,null,null,null,null,null,71,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,71,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,72,15850.004228,null,null,null,null,null,null,null,null,null,null,null,72,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,72,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,72,15850.004228,null,null,null,null,null,null,null,null,null,null,null,72,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,72,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,73,15850.004228,null,null,null,null,null,null,null,null,null,null,null,73,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,73,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,73,15850.004228,null,null,null,null,null,null,null,null,null,null,null,73,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,73,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,74,15850.004228,null,null,null,null,null,null,null,null,null,null,null,74,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,74,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,74,15850.004228,null,null,null,null,null,null,null,null,null,null,null,74,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,74,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,75,15850.004228,null,null,null,null,null,null,null,null,null,null,null,75,24151.516068948,null,null,null,null,null,null,null,null,null,null,null,75,9742.6033649479959]
[null,null,null,null,null,null,null,null,null,null,null,75,15850.004228,null,null,null,null,null,null,null,null,null,null,null,75,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,75,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,76,15850.004228,null,null,null,null,null,null,null,null,null,null,null,76,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,76,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,76,15850.004228,null,null,null,null,null,null,null,null,null,null,null,76,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,76,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,77,15850.004228,null,null,null,null,null,null,null,null,null,null,null,77,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,77,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,77,15850.004228,null,null,null,null,null,null,null,null,null,null,null,77,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,77,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,78,15850.004228,null,null,null,null,null,null,null,null,null,null,null,78,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,78,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,78,15850.004228,null,null,null,null,null,null,null,null,null,null,null,78,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,78,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,79,15850.004228,null,null,null,null,null,null,null,null,null,null,null,79,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,79,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,79,15850.004228,null,null,null,null,null,null,null,null,null,null,null,79,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,79,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,80,15850.004228,null,null,null,null,null,null,null,null,null,null,null,80,24723.217762027001,null,null,null,null,null,null,null,null,null,null,null,80,10314.305058026996]
[null,null,null,null,null,null,null,null,null,null,null,80,15850.004228,null,null,null,null,null,null,null,null,null,null,null,80,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,80,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,81,15850.004228,null,null,null,null,null,null,null,null,null,null,null,81,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,81,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,81,15850.004228,null,null,null,null,null,null,null,null,null,null,null,81,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,81,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,82,15850.004228,null,null,null,null,null,null,null,null,null,null,null,82,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,82,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,82,15850.004228,null,null,null,null,null,null,null,null,null,null,null,82,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,82,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,83,15850.004228,null,null,null,null,null,null,null,null,null,null,null,83,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,83,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,83,15850.004228,null,null,null,null,null,null,null,null,null,null,null,83,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,83,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,84,15850.004228,null,null,null,null,null,null,null,null,null,null,null,84,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,84,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,84,15850.004228,null,null,null,null,null,null,null,null,null,null,null,84,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,84,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,85,15850.004228,null,null,null,null,null,null,null,null,null,null,null,85,25294.919455106003,null,null,null,null,null,null,null,null,null,null,null,85,10886.006751105995]
[null,null,null,null,null,null,null,null,null,null,null,85,15850.004228,null,null,null,null,null,null,null,null,null,null,null,85,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,85,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,86,15850.004228,null,null,null,null,null,null,null,null,null,null,null,86,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,86,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,86,15850.004228,null,null,null,null,null,null,null,null,null,null,null,86,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,86,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,87,15850.004228,null,null,null,null,null,null,null,null,null,null,null,87,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,87,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,87,15850.004228,null,null,null,null,null,null,null,null,null,null,null,87,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,87,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,88,15850.004228,null,null,null,null,null,null,null,null,null,null,null,88,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,88,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(L182=\"\",\"\",(IF(L182=$M$4,\"\",IF(L182=L181,L182+1,L182))))","v":88},15850.004228,null,null,null,null,null,null,null,null,null,null,null,88,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,88,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,89,15850.004228,null,null,null,null,null,null,null,null,null,null,null,89,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,89,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,89,15850.004228,null,null,null,null,null,null,null,null,null,null,null,89,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,89,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,90,15850.004228,null,null,null,null,null,null,null,null,null,null,null,90,25866.621148185004,null,null,null,null,null,null,null,null,null,null,null,90,11457.708444184995]
[null,null,null,null,null,null,null,null,null,null,null,90,31700.008456,null,null,null,null,null,null,null,null,null,null,null,90,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,90,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,91,31700.008456,null,null,null,null,null,null,null,null,null,null,null,91,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,91,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,91,31700.008456,null,null,null,null,null,null,null,null,null,null,null,91,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,91,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,92,31700.008456,null,null,null,null,null,null,null,null,null,null,null,92,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,92,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,92,31700.008456,null,null,null,null,null,null,null,null,null,null,null,92,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,92,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,93,31700.008456,null,null,null,null,null,null,null,null,null,null,null,93,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,93,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,93,31700.008456,null,null,null,null,null,null,null,null,null,null,null,93,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,93,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,94,31700.008456,null,null,null,null,null,null,null,null,null,null,null,94,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,94,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,94,31700.008456,null,null,null,null,null,null,null,null,null,null,null,94,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,94,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,95,31700.008456,null,null,null,null,null,null,null,null,null,null,null,95,27307.712672185004,null,null,null,null,null,null,null,null,null,null,null,95,12898.799968184994]
[null,null,null,null,null,null,null,null,null,null,null,95,31700.008456,null,null,null,null,null,null,null,null,null,null,null,95,27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,95,13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(L197=\"\",\"\",(IF(L197=$M$4,\"\",IF(L197=L196,L197+1,L197))))","v":96},31700.008456,null,null,null,null,null,null,null,null,null,null,null,96,27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,96,13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,96,31700.008456,null,null,null,null,null,null,null,null,null,null,null,96,27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,96,13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,97,31700.008456,null,null,null,null,null,null,null,null,null,null,null,97,{"$f":"IF(Y200=\"\",\"\",IF(Y200=$Z$4,INDEX($W$5:$W$104,Y200),INDEX($W$5:$W$104,Y201)))","v":27879.414365264005},null,null,null,null,null,null,null,null,null,null,null,97,{"$f":"IF(AL200=\"\",\"\",IF(AL200=$AM$4,INDEX($AJ$5:$AJ$104,AL200),INDEX($AJ$5:$AJ$104,AL201)))","v":13470.501661263994}]
[null,null,null,null,null,null,null,null,null,null,null,97,31700.008456,null,null,null,null,null,null,null,null,null,null,null,97,27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,97,13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,98,31700.008456,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Y201=\"\",\"\",(IF(Y201=$Z$4,\"\",IF(Y201=Y200,Y201+1,Y201))))","v":98},27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(AL201=\"\",\"\",(IF(AL201=$Z$4,\"\",IF(AL201=AL200,AL201+1,AL201))))","v":98},13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,98,{"$f":"IF(L203=\"\",\"\",IF(L203=$M$4,INDEX($J$5:$J$104,L203),INDEX($J$5:$J$104,L204)))","v":31700.008456},null,null,null,null,null,null,null,null,null,null,null,98,27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,98,13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,99,31700.008456,null,null,null,null,null,null,null,null,null,null,null,99,27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,99,13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,99,{"$f":"IF(L205=\"\",\"\",IF(L205=$M$4,INDEX($J$5:$J$104,L205),INDEX($J$5:$J$104,L206)))","v":31700.008456},null,null,null,null,null,null,null,null,null,null,null,99,27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,99,13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,100,31700.008456,null,null,null,null,null,null,null,null,null,null,null,100,27879.414365264005,null,null,null,null,null,null,null,null,null,null,null,100,13470.501661263994]
[null,null,null,null,null,null,null,null,null,null,null,"*","*",null,null,null,null,null,null,null,null,null,null,null,"*","*",null,null,null,null,null,null,null,null,null,null,null,"*","*"]

{"sheet":"DB","index":2,"n_rows":31,"n_cols":12,"rows_kept":31,"cut":false,"hidden":false,"merged":[[12,11,13,11],[3,1,4,1],[15,1,16,1],[12,7,13,7],[12,8,13,8],[12,9,13,9],[23,2,23,3],[24,2,24,3],[25,2,25,3],[28,1,29,1],[12,10,13,10]]}
[null,"■データベース"]
[]
[null,"塗装仕様",null,null,null,null,null,"基本情報"]
[null,"形式","塗料費","材工","単価","備考",null,"橋梁形式","鈑桁橋","箱桁橋"]
[null,null,"（円/m2）","（円/m2）","（円/m2）",null,null,"床版との結合","非合成","合成"]
[null,"Rc-Ⅰ",7375,3637,{"$f":"+C6+D6","v":11012},null,null,"径間数","単純","連続"]
[null,"Rc-Ⅲ",3075,0,{"$f":"+C7+D7","v":3075},null,null,"周辺環境","普通環境","劣悪環境"]
[null,"点検時塗装①",12333,0,{"$f":"+C8+D8","v":12333},"2液性ｴﾎﾟｷｼ樹脂塗料","※NEXT","塗替え方法","全面塗替え","部分塗替え","点検時塗装"]
[null,"点検時塗装②",1850,0,1850,"1液性ｴﾎﾟｷｼ樹脂塗料","※SRI"]
[null,"点検時塗装③",2595,0,2595,"2液性ｴﾎﾟｷｼ樹脂防錆剤","※ｻﾋﾞｯﾄﾒﾝﾄ"]
[]
[null,null,null,null,null,null,null,"塗替えサイクル"]
[null,null,null,null,null,null,null,"塗装方法","仕様","環境","検索値","サイクル\n(年)"]
[]
[null,"足場設置",null,null,null,null,null,"全面塗替え","Rc-Ⅰ","普通環境",111,35]
[null,"形式","単価",null,null,null,null,"全面塗替え","Rc-Ⅰ","劣悪環境",112,20]
[null,null,"（円/m2）",null,null,null,null,"全面塗替え","Rc-Ⅲ","普通環境",121,35]
[null,"なし",0,null,null,null,null,"全面塗替え","Rc-Ⅲ","劣悪環境",122,20]
[null,"Rc-Ⅰ用",8200,null,null,null,null,"部分塗替え","Rc-Ⅰ","劣悪環境",212,20]
[null,"Rc-Ⅲ用",3700,null,null,null,null,"部分塗替え","Rc-Ⅲ","劣悪環境",222,20]
[null,null,null,null,null,null,null,"点検時塗装","点検時塗装①","普通環境",331,5]
[null,null,null,null,null,null,null,"点検時塗装","点検時塗装①","劣悪環境",332,5]
[null,"点検時塗装凡例",null,null,null,null,null,"点検時塗装","点検時塗装②","普通環境",341,5]
[null,"点検時塗装①","2液性ｴﾎﾟｷｼ樹脂塗料",null,null,null,null,"点検時塗装","点検時塗装②","劣悪環境",342,5]
[null,"点検時塗装②","1液性ｴﾎﾟｷｼ樹脂塗料",null,null,null,null,"点検時塗装","点検時塗装③","普通環境",351,5]
[null,"点検時塗装③","2液性ｴﾎﾟｷｼ樹脂防錆剤",null,null,null,null,"点検時塗装","点検時塗装③","劣悪環境",352,5]
[null,null,null,null,null,null,null,"※塗装方法　…　全面塗替え(1)，部分塗替え(2)，点検時塗装(3)"]
[null,"点検費用",null,null,null,null,null,"※仕　　様　…　Rc-Ⅰ(1)，Rc-Ⅲ(2)，点検時塗装①(3)，点検時塗装②(4),点検時塗装③(5)"]
[null,"形式","単価",null,null,null,null,"※環　　境　…　普通環境(1)，劣悪環境(2)"]
[null,null,"（円/1回）"]
[null,"点検時塗装",187507]